## Worksheet
Consequence
|  |  | Threat Scenario |  |  |  |  | Consequence Description | Impact
Risk ID | Zone | Asset | Tactics | Technique ID | Technique | Description | Vulnerabilities |  | S | E | F | R | Max | UTL | Risk | SL-T | Countermeasures | MTL | Risk | Recommendations | ATL | Risk

## Hierarchy
SITE | UNIT | ZONE / CONDUIT | Zone / Conduit | IACS ASSET (NODE) | SUC (Y/N)
1. Anywhere | 1. Remote |  |  |  | Y
N
2. Corporate HQ | 1. Corporate |  |  |  | N
N
3. Plant | 1. Admin Building |  |  |  | Y
Y
Y
N
Y
| 2. Truck Loading |  |  |  | Y
Y
Y
Y
Y
Y
Y
Y
Y
Y
Y
Y
N
N

## Lookup
Impact
1
2
3
4
5
Likelihood
1
2
3
4
5

## Risk Matrix
[7 empty] | g | Likelihood |  |  | g
[5 empty] | Chance | Chance | Virtually improbable and unrealistic | Conceivably possible, but very unlikely to occur | Unusual but possible | Quite possible or not unusual | Likely to occur
[5 empty] | Frequency | Frequency | Event could occur at some time greater than 100 years | Event could occur at some time within 10 to 100 years | Has occurred or is expected to occur within 5 to 10 years | Has occurred or is expected to occur within 1 to 5 years | Event expected to occur more than once per year
| Safety | Environment | Financial | Reputation |  |  | Improbable | Rare | Unlikely | Possible | Likely
[7 empty] | 1 | 2 | 3 | 4 | 5
| Medical Treatment, Minor Health Effects, First Aid Case, or Less | No off site impact | Potential equipment or asset damage or financial loss < $100K USD | No harm or slight client concern | Trivial | 1 | 1 | 2 | 3 | 4 | 5
Impact | Medical Treatment with Restricted Duty or Medium Health Effects | One odor or noise complaint from event | Potential equipment or asset damage or financial loss $100K to $ 1M | Minor harm to the Company's public reputation; or client concern | Minor | 2 | 2 | 4 | 6 | 8 | 10
| Serious illness or injury resulting in days away from work [LTI]; or a permanent partial Disability | On-site or off-site environmental release to soil/ground or multiple odor or noise complaints from event | Potential equipment or asset damage or financial loss $1M to $10M | Harm to the Company's reputation limited to the local area via local public media reports or local industry news; significant client concern | Moderate | 3 | 3 | 6 | 9 | 12 | 15
| Illness or injury resulting in one fatality; or permanent full disability | On-site or off-site environmental release to surface water | Potential equipment or asset damage or financial loss $10M to $100M | Harm to the Company's reputation extends to the region through regional or national public media outlets or national industry or financial news; multiple significant client concerns | Major | 4 | 4 | 8 | 12 | 16 | 20
| Illness or injury resulting in multiple (2+) fatalities. | Major off-site impact (vapor cloud explosion, fire, major toxic gas release, major off-site environmental release, wildllife kill) | Potential equipment or asset damage or financial loss >$100M | Harm to the Company's reputation extends internationally through public media outlets or negative publicity in international industry or financial news; global client concerns | Critical | 5 | 5 | 10 | 15 | 20 | 25

## CRRF
Tolerable Risk = |  | 5
RISK | CRRF | SL-T
1 | 0.2 | 0
2 | 0.4 | 0
3 | 0.6 | 0
4 | 0.8 | 0
5 | 1 | 0
6 | 1.2 | 1
7 | 1.4 | 1
8 | 1.6 | 1
9 | 1.8 | 1
10 | 2 | 1
11 | 2.2 | 2
12 | 2.4 | 2
13 | 2.6 | 2
14 | 2.8 | 2
15 | 3 | 2
16 | 3.2 | 3
17 | 3.4 | 3
18 | 3.6 | 3
19 | 3.8 | 3
20 | 4 | 3
21 | 4.2 | 4
22 | 4.4 | 4
23 | 4.6 | 4
24 | 4.8 | 4
25 | 5 | 4